## Maggie vs Bags 10 YR Lifecycle
ZGF Maggie - 125 gpm | YR 0 | YR 1 | YR2 | YR 3 | YR4 | YR 5 | YR 6 | YR 7 | YR 8 | YR 9 | YR 10 | Category Total
capital | YR 0: 30500 | 30500
operating - energy | 0 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 0.68395 | 6.8395
operating - labor | 0 | 180 | 180 | 180 | 180 | 240 | 180 | 180 | 180 | 180 | 567 | 2247
spares/refurbishment | 0 | 100 | 100 | 100 | 100 | 400 | 100 | 100 | 100 | 100 | 5500 | 6700
YEAR TOTAL | 30500 | 280.684 | 280.684 | 280.684 | 280.684 | 640.684 | 280.684 | 280.684 | 280.684 | 280.684 | 6067.684 | 39453.8395
Average Annual Operating & Maintenance Cost | YR 3: 895.384
Annualized Capital Cost | YR 3: 3050
Average TOTAL Annual Cost | YR 3: 3945.384
Bag Filters | YR 0 | YR 1 | YR2 | YR 3 | YR4 | YR 5 | YR 6 | YR 7 | YR 8 | YR 9 | YR 10 | Category Total
capital | [11 empty] | 0
operating - energy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
operating - labor | 0 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 49500
replacement bags | 0 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 40000
YEAR TOTAL | 0 | 8950 | 8950 | 8950 | 8950 | 8950 | 8950 | 8950 | 8950 | 8950 | 8950 | 89500
Average Annual Operating & Maintenance Cost | 3945.384 YR 3: 8950
Annualized Capital Cost | 3945.384 YR 3: 0
Average TOTAL Annual Cost | 3945.384 YR 3: 8950
NOTES & USER ADJUSTABLE VARIABLES ARE BELOW.
1. ZGF Maggie MG1200 (125 gpm) Air Consumption/Purge: 0.25 ft3 @ 80 psi; ZGF Maggie MG2600 (250 gpm) Air Consumption/Purge: 0.53 ft3 @ 80 psi
2. ZGF Maggie Solenoid Valves Energy Usage: 1.2 W energized
3. ZGF Smart Drum Motor Energy Usage: 60 W energized
4. ZGF Smart Drum Motor is energized 30 seconds / purge cycle
5. ZGF Maggie Labor: 0.5 hr system review every month (6 hours/year) for single unit Maggie systems
7. ZGF Maggie Spares - Replace Smart Drum scraper every 6 months
8. ZGF Maggie Major Spares: Replace purge valve Year 5 and Year 10, replace outlet valve Year 10
9. ZGF Maggie Rebuild - Return Maggie's to ZGF Year 10 for reconditioning
10. ZGF Maggie magnetic shuttle dynamic o-ring design lifecycle: 250,000 cycles
11. ZGF Maggie pneumatic actuators design lifecycle: 500,000 cycles
12. Typical ZGF Maggie Purge Cycle Duration: 5 seconds
13. Typical ZGF Maggie Purge Cycle Frequency: Every 20 minutes to 40 minutes
14. No additional waste (i.e. media) generated with ZGF Maggie
15. TOTAL O&M costs include energy, labor and spares/refurbishment costs
16. ZGF Maggie, 125 gpm: The equipment cost includes frame mounted, Maggie MG1200, Smart Drum PLUS
17. Based upon 3 cycles/hr, 16 hrs/day, 250 days/yr, Maggie will have 120,000 cycles in 10 years.
User Adjustable Variable Costs
Compressed Air Cost ($/ft3) | 3945.384 YR 3: 0.0002; 3945.384 YR 6: Notes:
Electricity Cost ($/kW-hr) | 3945.384 YR 3: 0.06; 3945.384 YR 6: 1. The Varaibles in BLUE impact Maggie
Motor Efficiency (%) | 3945.384 YR 3: 0.85; 3945.384 YR 6: 2. The Varaibles in RED impact Bag Filters
Pump Efficiency (%) | 3945.384 YR 3: 0.75; 3945.384 YR 6: 3. The Variable in BLACK impact both.
ZGF Maggie Purge Cycle Duration (seconds) | 3945.384 YR 3: 5
ZGF Maggie Purge Cycles/Hour | 3945.384 YR 3: 2
Hours of Operation/Day | 3945.384 YR 3: 16
Operating Days/Year | 3945.384 YR 3: 250
Burdened Labor Cost ($/hr) | 3945.384 YR 3: 30
Replacement Bags ($ / bag) | 3945.384 YR 3: 8; 3945.384 YR 5: Includes bag disposal cost
Bag Changes / Day | 3945.384 YR 3: 2
Time to Change Bag (hr) | 3945.384 YR 3: 0.33